## Data acquisition, reduction, UA
SPREADSHEET FOR DATA ACQUISITION AND REDUCTION
LAB3 - Measurement of pressure distribution and forces
acting on an airfoil
Table of Contents | [6 empty] | Color code:
Sections
1. Experimental Summary | [7 empty] | Comments
2. Data reduction equations | [7 empty] | Enter student data
3. Data Acquisition and Reduction | [7 empty] | Calculated/output data
3.1 Input variables | [7 empty] | Data Given
3.2 Measured variables
4. Uncertainty Analysis
4.1 Bias Limits
4.2 Precision Limits
4.3 Total Uncertainty
1. Experiment summary
Statement of Purpose: |  |  |  |  | The purpose of this spreadsheet is to facilitate data
acquisition, reduction and uncertainty analysis
Facility: |  |  |  |  | Vertical Wind Tunnel (WTA)
Test Design: |  |  |  |  | Airfoil set in the test section of the wind tunnel
Semester of tests performed: |  |  |  |  | Spring 2004
References: |  |  |  |  | Lab3 Handout: http://css.engineering.uiowa-
.edu/~fluids/Lab/EFDLab3.PDF, http://www.engineering.
uiowa.edu/fluidslab/
2. Data Reduction Equations
3. Data acquisition and reduction for multiple test UA approach
3.1 Input variables
Average temperature |  | 25.05 | deg C
|  | 1.194 | kg/m3
|  | 7.04 | m/s
c |  | 0.3048 | m
|  | 1.5488e-05 | m2/s
Re |  | 138543.9637
AOA |  | 13 | deg
T0 |  | 25.05 | deg C
3.2.1 Measured variables (Pressure Distribution, Pressure and Lift Coefficients)
Port | V (Volt) | x/c | p-pinf (Pa) | Cp | Ds | b | q = b-a | Li
0 | -0.0234 | 0 | -23.4 | -0.79085
1 | -0.0546 | 1.25 | -54.6 | -1.8453 | 6 | 160.7 | 147.7 | 0.1253
2 | -0.0608 | 2.5 | -60.8 | -2.0549 | 6 | 136.2 | 123.2 | 0.28989
3 | -0.061 | 5 | -61 | -2.0616 | 9 | 115.8 | 102.8 | 0.53459
4 | -0.057 | 7.5 | -57 | -1.9264 | 9 | 107.3 | 94.3 | 0.52954
5 | -0.0524 | 10 | -52.4 | -1.771 | 8 | 102.6 | 89.6 | 0.43759
6 | -0.0464 | 15 | -46.4 | -1.5682 | 15.5 | 100.1 | 87.1 | 0.76469
7 | -0.0432 | 20 | -43.2 | -1.46 | 15.5 | 97.1 | 84.1 | 0.69067
8 | -0.042 | 30 | -42 | -1.4195 | 30 | 93.2 | 80.2 | 1.2592
9 | -0.0262 | 40 | -26.2 | -0.88549 | 30 | 89.8 | 76.8 | 0.99581
10 | -0.0242 | 50 | -24.2 | -0.81789 | 30 | 86.7 | 73.7 | 0.72547
11 | -0.0196 | 60 | -19.6 | -0.66242 | 31.5 | 83.9 | 70.9 | 0.65173
12 | -0.0154 | 70 | -15.4 | -0.52048 | 31.5 | 81.9 | 68.9 | 0.51417
13 | -0.0118 | 80 | -11.8 | -0.39881 | 31.5 | 81.1 | 68.1 | 0.39739
14 | -0.0084 | 90 | -8.4 | -0.2839 | 31.5 | 79.7 | 66.7 | 0.29213
|  | 100 | 0 | 0 | 30 | 78.6 | 65.6 | 0.11472
15 | -0.005 | 90 | -5 | -0.16899 | 29 | 272.4 | 259.4 | -0.071232
16 | -0.0042 | 80 | -4.2 | -0.14195 | 31 | 272.4 | 259.4 | -0.14011
17 | -0.0044 | 70 | -4.4 | -0.14871 | 31 | 272.4 | 259.4 | -0.13097
18 | -0.004 | 60 | -4 | -0.13519 | 31 | 272.4 | 259.4 | -0.12792
19 | -0.0034 | 50 | -3.4 | -0.11491 | 31 | 272.4 | 259.4 | -0.11269
20 | -0.002 | 40 | -2 | -0.067594 | 30 | 272.4 | 259.4 | -0.079583
21 | -0.0004 | 30 | -0.4 | -0.013519 | 30 | 272.4 | 259.4 | -0.03537
22 | 0.0014 | 20 | 1.4 | 0.047316 | 30 | 272.4 | 259.4 | 0.014738
23 | 0.0014 | 15 | 1.4 | 0.047316 | 15.5 | 272.4 | 259.4 | 0.02132
24 | 0.003 | 10 | 3 | 0.10139 | 15.5 | 272.4 | 259.4 | 0.033504
25 | 0.0046 | 7.5 | 4.6 | 0.15547 | 7.5 | 272.4 | 259.4 | 0.028002
26 | 0.0086 | 5 | 8.6 | 0.29066 | 9 | 265.5 | 252.5 | 0.056611
27 | 0.0134 | 2.5 | 13.4 | 0.45288 | 6 | 253.4 | 240.4 | 0.057317
28 | 0.0194 | 1.25 | 19.4 | 0.65567 | 4.5 | 241 | 228 | 0.054744
|  | 0 | 0 | 0 | 8 | 209 | 196 | -0.02126
40 | 0.0208 | 0 | 20.8 | 0.70298 |  |  | L (Pa*m) | 7.87 | or, (N/m)
[5 empty] | CL = | 0.87265
3.2 Measured variables (Load cell data)
Newtons
Lift (pressure distribution)
Lift (load cell)
4. Uncertainty analysis
Estimates for total bias and precision limits based on
previous experiments are provided in the following table
| Cp |  |  |  | Cl
port num | B^2 | P^2 | U |  | B^2 | P^2 | U
0 | 0.0053915 | 0.000238 | 0.07503 |  | 0.00055213 | 7.58e-06 | 0.023658
1 | 0.043592 | 4.4e-05 | 0.20889
2 | 0.043592 | 0.000267 | 0.20943
3 | 0.043592 | 0.000146 | 0.20914
4 | 0.043592 | 0.000355 | 0.20964
5 | 0.043592 | 0.000139 | 0.20912
6 | 0.043592 | 2.6e-05 | 0.20885
7 | 0.043592 | 0.000428 | 0.20981
8 | 0.043592 | 0.00023 | 0.20934
9 | 0.043592 | 0.00034 | 0.2096
10 | 0.043592 | 0.000121 | 0.20908
11 | 0.043592 | 0.000135 | 0.20911
12 | 0.043592 | 0.000322 | 0.20956
13 | 0.043592 | 8.4e-05 | 0.20899
14 | 0.043592 | 9.1e-05 | 0.209
0
15 | 0.043592 | 4.4e-05 | 0.20889
16 | 0.043592 | 0.000227 | 0.20933
17 | 0.043592 | 0.000117 | 0.20907
18 | 0.043592 | 0.000157 | 0.20916
19 | 0.043592 | 4.4e-05 | 0.20889
20 | 0.043592 | 0.000102 | 0.20903
21 | 0.043592 | 0.000121 | 0.20908
22 | 0.043592 | 0.000146 | 0.20914
23 | 0.043592 | 0.000128 | 0.20909
24 | 0.043592 | 0.000201 | 0.20927
25 | 0.043592 | 0.000121 | 0.20908
26 | 0.043592 | 0.000117 | 0.20907
27 | 0.043592 | 0.000373 | 0.20968
28 | 0.043592 | 0.000157 | 0.20916

## Reference data
AOA 0 |  | AOA 6 |  | AOA 13 |  | AOA 16
X/C | Cp | X/C | Cp | X/C | Cp | X/C | Cp
0.0177 | 1.0533 | 0.0202 | 0.4881 | 0 | -0.9265 | 0.0208 | 0.1252
1.3324 | 0.8824 | 1.2523 | -0.7447 | 1.4303 | -2.0957 | 1.3416 | -0.547
2.6579 | 0.4413 | 2.5703 | -1.1574 | 2.6222 | -2.184 | 2.6458 | -0.5193
5.0539 | -0.0108 | 4.8273 | -1.3717 | 5.006 | -2.0298 | 5.0139 | -0.3352
7.7971 | -0.2202 | 7.4302 | -1.3547 | 7.7473 | -1.802 | 7.623 | -0.3076
10.18 | -0.3414 | 9.6763 | -1.2938 | 10.1311 | -1.6405 | 9.8768 | -0.3076
15.0595 | -0.4514 | 14.6412 | -1.1554 | 14.8987 | -1.479 | 14.8597 | -0.3352
20.0551 | -0.4897 | 19.6075 | -1.05 | 19.7855 | -1.4353 | 19.723 | -0.326
30.0427 | -0.4781 | 29.8966 | -0.8776 | 30.0358 | -0.7669 | 30.0433 | -0.326
39.7917 | -0.4445 | 40.0651 | -0.6503 | 39.8093 | -0.6353 | 40.0084 | -0.3536
49.8958 | -0.3722 | 50.2367 | -0.5 | 50.0596 | -0.4743 | 50.2098 | -0.3444
59.8809 | -0.2945 | 60.1712 | -0.3387 | 60.1907 | -0.2985 | 60.0556 | -0.3444
69.867 | -0.2443 | 69.9879 | -0.1939 | 70.2026 | -0.1375 | 69.9016 | -0.3536
80.2107 | -0.2162 | 80.3964 | -0.0491 | 80.3337 | -0.0133 | 80.1037 | -0.372
90.1852 | 0.1263 | 90.3313 | 0.1012 | 90.1073 | 0.1257 | 89.9489 | -0.3444
1.2944 | -1.158 | 1.3081 | 0.8406 | 1.4303 | 1.022 | 1.5419 | 1
2.5978 | -1.0421 | 2.744 | 0.439 | 2.6222 | 0.8601 | 2.615 | 0.779
4.968 | -0.8435 | 4.8796 | 0.3017 | 5.1251 | 0.6982 | 4.9912 | 0.6225
7.6959 | -0.6669 | 7.4855 | 0.2416 | 7.6281 | 0.5656 | 7.6031 | 0.5304
10.0707 | -0.584 | 9.8543 | 0.1925 | 10.0119 | 0.4846 | 9.8591 | 0.4383
15.063 | -0.5396 | 19.6761 | 0.2106 | 19.7855 | 0.3956 | 19.706 | 0.3923
30.0261 | -0.059 | 29.9721 | 0.2068 | 30.0358 | 0.3434 | 30.028 | 0.3186
39.8936 | -0.0143 | 40.2686 | 0.192 | 39.9285 | 0.2985 | 40.1124 | 0.2634
49.7616 | 0.0138 | 50.2095 | 0.1881 | 50.0596 | 0.2684 | 50.1965 | 0.2173
59.8682 | 0.0254 | 60.151 | 0.1732 | 60.0715 | 0.2309 | 60.0443 | 0.1344
69.9734 | 0.07 | 70.0919 | 0.1694 | 70.0834 | 0.2154 | 69.8916 | 0.07
80.0791 | 0.1037 | 80.3873 | 0.1821 | 80.3337 | 0.1926 | 80.0945 | 0.0147
90.0646 | 0.1704 | 90.3274 | 0.2002 | 90.1073 | 0.1919 | 90.0603 | -0.0405