03/11/04

57:020 Mechanics of Fluids and Transfer Processes

Laboratory Experiment #3

# Measurement of Pressure Distribution and Forces Acting on an Airfoil

# F. Stern, M. Muste, D. Houser, M. Wilson, S. Ghosh

## 1. Purpose

The objectives of the experiment are to measure the surface pressure distribution and lift force acting on an airfoil set at various angles of attack and to compare the results, including their uncertainties, with benchmark data.

## 2. Experiment Design

Airfoils are streamlined (raindrop-type shape) surfaces designed in such a way that air flowing around it produces useful motion.  Airfoils set in a velocity field or moving in still fluids are subjected to pressure and viscous forces.  Typical geometric and hydrodynamic characteristics of airfoils are illustrated in Figures 1.a and 1.b.  Over the top of the airfoil the velocity of the flow is greater than the free-stream velocity.  Following from Bernoulli’s equation, the pressure over the top surface is negative (see Figure 1.b).  Velocity along the underside of the airfoil is less than the free-stream velocity and the pressure is positive. The overall effects of the flow around the airfoil are a total lift force, L, acting normal to the free-stream direction and a drag force, D, acting parallel to the free-stream direction.  In this experiment the lift force is determined by integrating the measured pressure distribution over the airfoil surface and by directly measuring it with a load cell.  The drag force is measured with a load cell.

| a) |  | b) |  |
| --- | --- | --- | --- |
| Figure 1. Airfoils characteristics: a) geometry; b) hydrodynamics |

| The experiments are conducted in the test section of a closed circuit open wind tunnel shown in Figure 2 where a uniform and steady velocity field is established. The vertical tunnel has four 90º corners equipped with vanes, two flat walled diffusers, a contraction section, test section, and fan. The vanes, settling chamber and contraction section, act as flow conditioning devices that help achieving flow uniformity, quiet operation, and low turbulence level. An electric motor controlled with a variable frequency driver (VFD) allows smooth change of the fan rotational speed. The closed circuit is | Figure 2. Layout of the open test section wind tunnel |
| --- | --- |
| approximately 60 ft long and the test section is a 2.5 ft by 2.5 ft square, 5 ft long. The facility enables measurements for turbulent flows up to Re = 500,000 (Re = U∞ c/ν, where U∞ is the free-stream velocity in the tunnel, c is the airfoil cord length, and ν is the kinematic viscosity of air). |

A photograph of the tunnel contraction housing the test platform is provided in Figure 3.a.  A Clark-Y airfoil, as illustrated in Figures 3.a and 3.b, is used for measurements.  This airfoil was selected because it exhibits good aerodynamic performance over a wide range of Re, including the low range number (i.e., Re down to 50,000) and due to the availability of benchmark data for comparison.  Figure A.1 in Appendix A provides the positioning of the pressure taps in airfoil-attached coordinates.

Data acquisition is conducted with an Automated Data Acquisition System (ADAS) sketched in Figure 3.c.  ADAS is controlled and interfaced by a custom LabView-based software described in Appendix B.  ADAS contains several measurement modules: tunnel controls, pressure distribution and velocity around the airfoil, load cell, and airfoil positioning.  Tunnel controls include a resistance temperature detector (RTD) and a Pitot tube placed at the tunnel entrance to measure air temperature and free-stream velocity, respectively.  The RTD, Pitot tube, and the motor fan interface are interconnected through the software to allow for obtaining a targeted Re in the tunnel test section.  The pressure distribution around the airfoil is captured by 28 pressure taps connected through tygon tubes to the ports of the scanning valve (a rotary multiple-port mechanical switch that permits multiple pressure inputs to be connected to a common output) that sequentially sensed the pressures at various airfoil locations.  A second Pitot tube is placed in the test section for obtaining velocities at various locations in the test section, including measurement in the wake of the airfoil.  The second Pitot tube is connected to the scanning valve and also to a high-precision Rouse manometer that is used for calibration and demonstration purposes.

Pressures received by the scanning valve are directed to a pressure transducer that converts pressure in electrical signals.

The differential pressure transducer has one port connected at all times to p∞  (the reference pressure measured in the free stream), while the other port is connected to the scanning valve output port.  The voltage outputted by the pressure transducer is transmitted to the computer where it is digitized using an Analog/Digital (A/D) board and stored.  Two load cells are attached to the sides of the airfoil mounting to allow for measurement of the lift and drag forces acting on the airfoil (see Figures 3.a and 3.c).  The load cell is calibrated to obtain the relationship between forces acting on the load cell and voltage outputted by the strain gages.  Positioning of the airfoil at various angles of attack is made with a hand wheel that transmits the established angle to a digital display and to the computer.

The measured variables are the test section air temperature, free stream velocity, pressure distribution around the airfoil, and the lift and drag forces acting on the airfoil.  Using them the pressure coefficients, CP, and the lift coefficient, CL, for the airfoil.

The data reduction equation for the pressure coefficient, CP, is given by:

(1)

where pi is the surface pressure measured at location i on the airfoil surface, p( is the pressure in the free stream (measured on the Pitot static port), ( is air density, and U( is the free-stream velocity given by

(2)

where pstagn is the stagnation pressure measured at the tip of the free Pitot tube.

The data reduction equation for the lift coefficient, CL, is given by

(3)

where L is the lift force acting on the airfoil surface, b is the airfoil span, and c is the airfoil chord (as shown in Figure 1.a).  The lift force can be obtained in two ways.  By integrating the measured pressure distribution over the airfoil

(4)

where θi is the angle of surface normal to free-stream flow at each of the pressure taps, as specified in Appendix A.  Alternatively, the lift force can be directly measured with the load cell using the following calibration equation

(5)

where A and B are calibration coefficients, V is the load cell voltage output, and M is the calibration load mass.

| a) | b) |
| --- | --- |
| c) |
| Figure 3. The experimental layout: a) photograph of the test section and instrumentation; b) the geometry of the Clark-Y airfoil; c) ADAS components |

3.  Experiment Process

3.1. Setup

The experiment measurement system includes: the facility, the airfoil, and ADAS (see Figure 3).  ADAS acquires measurements of pressures at the surface pressure taps, velocities in the test section, temperature, forces on the airfoil, and angle of attack.  Before taking the measurements proceed with the following setup operations:

- Install the model in the test section.

- Conduct the load cell calibration.  The load cell measures three force components, i.e., Fx, Fy and Fz.  Fz is the lift force and Fx is the drag force.  Calibrations are conducted for lift and drag forces.  With the airfoil set in the test section, a series of six loads ranging from 0 to 1.635 kg are successively applied to a special calibration frame, as demonstrated by the TA.  Open the calibration software and record the applied loads as specified in Step 1 of Appendix B.  Using the software, plot the calibration results and record the calibration coefficients obtained by linear regression applied to the calibration points.

- Setup the targeted flow conditions in the tunnel test section.  Open the software interfaces and follow the steps indicated in Step 2 of Appendix B.  A Reynolds number of 143000 (corresponding to 7.04 m/s free stream velocity) is recommended for the experiment to match the testing conditions for the available benchmark data.

3.2.  Data Acquisition

Each student group acquires pressures measurements at the surface pressure taps located on the airfoil perimeter and the lift and drag forces for the airfoil set various angles of attack as specified by the TA.  Data is acquired with ADAS and stored for subsequent analysis.  A spreadsheet will be provided to guide the data acquisition.  Data acquisition follows the sequence described below:

- Measure the pressure distribution at the pressure taps and the free-stream velocity.  With the flow and angle of attack set to the desired values open the software components and follow the operational guidelines specified in Step 3 of Appendix B. The ADAS software outputs the averaged measured pressure and graphically displays the measurements as they are collected.  Note that the input connections to the scanning valve are as follows:

•  Ports 0 to 28 are connected to the corresponding pressure taps located on the airfoil (see Figure 3.b).

•  Port 40 is connected to the Pitot-static tube to measure the stagnation pressure

•  Port 42 is connected to the Pitot-static tube to measure the static (reference) pressure, p∞.

- Measure the lift and drag forces using the load cell.  Maintaining the same flow conditions as above, open the software components and follow the guidelines specified in Step 4 of Appendix B.  The software records the voltages outputted by the load cells.  These voltage values are converted to forces using the calibration equation (Equation 5) and the established calibration coefficients.

3.3 Data Reduction

A spreadsheet will be provided to guide the data reduction.  Data reduction includes calculation of the following quantities:

- free-stream velocity U( (using Equation 2 and the reading on port 40) and the corresponding flow Reynolds number, Re = U((c/(, where c is the chord length of the airfoil, and ( is the kinematic viscosity of air (use the temperature measured by the RTD to determine ( from fluid property tables).

- pressure coefficients (using Equation 1 and the readings on ports 0 to 28) on the airfoil surface.  Plot Cp versus x/c (x is the coordinate along the chord line) for all the angles of attack employed in the experiment.  Include the uncertainty estimate for the pressure coefficient. Compare your measurements with the benchmark data.

- lift force on the airfoil obtained by integrating the measured pressure over the airfoil surface.  Use of the trapezoidal rule, provided in Appendix A, can be used for the numerical integration.  Compare the calculated lift force with that directly measured by the load cell and discuss differences.

- lift coefficient, CL, given by equation (3).  Calculate the lift coefficient per unit span length and plot the points obtained experimentally with the CL /unit span length versus the angle of attack,, provided. Include the uncertainty estimate for the lift coefficient.  Compare your measurements with the benchmark data.

3.4.  Uncertainty Assessment

Uncertainties for the experimentally measured pressure and lift coefficients will be evaluated. The methodology for estimating uncertainties follows the AIAA S-071 Standard (AIAA, 1995) as summarized in Stern et al. (1999) for multiple tests (sections 6.1 and 6.3).  The block diagrams for error propagations in the measurements are provided in Figure 4.  Based on previous experiments, it was found that bias and precision limits for the (, , (, s, and c are negligible, hence for the present analysis only include the bias limit for.   The  spreadsheet provided for facilitating the uncertainty analysis will also contain bias and precision limit estimates for the individual measured variables and results obtained in previous experiments.

|  | Figure 4. Block diagram for determination of the pressure and lift coefficients including measurements systems, data reduction equations, and results |
| --- | --- |

The data reduction equation for the pressure coefficients (Equation 1) is of the form .  We will consider, however, only consider bias and precision limits for  (see uncertainty analysis spreadsheet).  Note that the uncertainty assessment does not include error sources such as pressure lag exceeding the data acquisition delay time, undetected leaks in the pressure tubing, model orifice effects, vibration effects on the probes, unsteady flow effects, undetected leaks in the scanning valve, and positioning of the traverse at the location of the measurements.

The total uncertainty for the pressure coefficient measured at each pressure tap is given by equation (24) in Stern et al. (1999)

(6)

The bias limit in Equation (6) is the same for taps and is given by equation (14) in Stern et al. (1999).  Neglecting the correlated bias limits and discarding the terms with negligible bias limit

(7)

where Bi is the bias limit for the individual variable and are sensitivity coefficients.  The sensitivity coefficient , evaluated using the average values for the individual variables, is given by

The precision limit for each pressure tap in Equation (6) was estimated using equation (23) in Stern et al. (1999)

(8)

where SCp is the standard deviation of the pressure coefficients at each pressure tap evaluated using equation (22) in Stern et al. (1999) for the M = 10 repeated tests.  Precision limits will have different values for each of the 28 taps.  Based on previous measurements, an average value for the precision limit will be provided in the uncertainty analysis spreadsheet.

# The data reduction equation for the lift coefficient is Equation 3 and it is of the form .   We will only consider bias limits for  (see uncertainty analysis spreadsheet).  The total uncertainty for the measurement of the lift coefficient is given by (equation 24 in Stern et al., 1999)

(9)

The bias limit in equation (9) is given by equation (14) in Stern et al. (1999).  Neglecting the correlated bias limits and the terms assumed with negligible bias limits

(10)

Given the above assumptions and using the lift force determined by integration (Equation 4), the expression for the bias limit of the lift coefficient is

(11)

Notations used in equation (11) are defined in Table 1 and Appendix A (k = 29).

The precision limit in Equation (10) was estimated using equation (23) in Stern et al. (1999)

(12)

where SCL is the standard deviation of the lift coefficients evaluated using equation (22) in Stern et al. (1999) for the M = 10 repeated tests. Based on previous measurements, an average value for the precision limit will be provided in the uncertainty analysis spreadsheet.

###### 4. Data Analysis

Measurements obtained in the experiments will be compared with benchmark data.  Benchmark data for pressure distribution coefficients and lift coefficients on a Clark-Y airfoil set at various angles of attack and Re are those of Marchman and Werme (1984). The benchmark data is plotted in Figure 5. Numerical values for the graphs will be provided in order to facilitate the comparison.

Discussions

Answer the following questions:

- If the lift L is a function of the free-stream velocity U∞, density , chord c, angle of attack , and viscosity , what are the dimensionless groups ( parameters) that characterize this problem?

- How do the experimental measurements of the pressure distribution apply to a full-scale aircraft having a similar airfoil section?

5. References

AIAA (1995).  AIAA- 071 Standard, American Institute of Aeronautics and Astronautics, Washington, DC.

Granger, R.A. (1988). Experiments in Fluid Mechanics, Holt, Rinehart and Winston, Inc. New York, N.Y.

Marchman III, J.F. and Werme, T.D. (1984).  “Clark-Y Performance at Low Reynolds Numbers,” Proceedings AIAA 22nd Aerospace Science Meeting, Reno, NE.

Robertson, J.A. and Crowe, C.T. (1993). Engineering Fluid Mechanics, 5th edition, Houghton Mifflin, Boston, MA.

Stern, F., Muste, M., Beninati, L-M., Eichinger, B. (1999).  “Summary of Experimental Uncertainty Assessment Methodology with Example,”  IIHR Report, Iowa Institute of Hydraulic Research, The University of Iowa, Iowa City, IA.

White, F.M. (1994). Fluid Mechanics, 3rd edition, McGraw-Hill, Inc., New York, N.Y.

a)

b)

Figure 7.  Reference data (Marchman and Werme, 1984);  a)  Distribution of the pressure coefficients for ( = 0(, 4(, 6(, 8(, 12(, 14( and Re = 143,000; b)  Variation of the lift coefficient with the angle of attack

# APPENDIX A

SPECIFICATIONS FOR THE EXPERIMENTAL FACILITY COMPONENTS

| The relevant geometrical notations are provided in Figure 3.b. The positioning of the pressure taps on the airfoil surface is also specified in Figure 3.b. Airfoil Geometry: maximum thickness, t = 0.0254 m; airfoil wing span, b = 0.762 m; chord length, c = 0.3048 m Angle notations: surface to chord line angle, (; angle of surface normal to free-stream flow, (; angle of attack, (. The numerical values for the airfoil relevant geometrical characteristics are provided in the table to the right. | N Node Number (i) x/C (s Surface Element Length (mm) ( Surface (i-1) - (i) to Chord Line Angle (degrees) 0 0.00 1 1.25 6.0 160.7 136. 2 3 2.50 6.0 136.2 3 5.00 9.0 115.8 4 7.50 9.0 8.08.0 33333 107.3 5 10.00 8.0 102.6 6 15.00 15.5 3 100.1 7 20.00 15.5 97.1 8 30.00 30.0 93.2 9 40.00 30.0 89.8 10 50.00 30.0 86.7 11 60.00 31.5 83.9 12 70.00 31.5 81.9 13 80.00 31.5 31 81.1 14 90.00 31.5 79.7 Trailing Edge 100.00 30.0 78.6 15 90.00 29.0 272.4 16 80.00 31.0 272.4 272.4 17 70.00 31.0 272.4 18 18 60.00 31.0 272.4 19 50.00 31.0 272.4 20 40.00 30.0 272.4 21 30.00 30.0 272.4 22 20.00 30.0 272.4 23 15.00 15.5 272.4 24 10.00 15.5 272.4 25 7.50 7.5 272.4 26 5.00 9.0 265.5 27 2.50 6.0 253.4 28 1.25 4.5 241.0 or 0 0.00 8.0 209.0 |
| --- | --- |
| Lift force can be computed using the trapezoidal scheme for the numerical integration |

| APPENDIX B THE AUTOMATED DATA ACQUISITION SYSTEM (ADAS) |
| --- |
| Step 1: Calibration of Load Cell |
| a. Getting started with the calibration of load cell. Double click on the program Lift_Force_Xducer_Calibration.vi from the ADAS shortcut and open the calibration program. |  |
|  | Figure B.1 |
| b. From the main menu select Calibration. A table shown in the right cell will pop up showing the mass (kg) versus lift and drag forces (Volts). Hit Run to start the program and click on Acquire Signal. Keep increasing the weights on the Load cell as directed by the TA and keep acquiring data to obtain the linear regression. The data recorded can be seen on the table. |  |
|  | Figure B.2 |
| c. Select and click on the Plot tab from the main menu. The linear calibration curve between the loading mass and the output voltage can be observed once you hit the Plot button on the Loadcell Signal as shown in Figure 1. |  |
|  | Figure B.3 |
| d. Click on Write Results from the Loadcell Signal box and the recorded data will be written to an output text file that will be used later to convert the signal from Volts to Newtons. |  |
|  | Figure B.4 |
| Step 2: Setting up Wind Tunnel Conditions |
| a. Once the calibration is complete, the next step is to switch on the wind tunnel. The wind tunnel desired speed is controlled using the program shown in Figure 5. Open the program VWT_Set_Motor_Speed.vi from the ADAS. Click Run button on the program. |  |
|  | Figure B.5 |
| b. Open program VWT_Tunnel_Velocity.vi and hit Run after inputting the atmospheric pressure in mm of Hg in the Ambient Pressure box. The wind tunnel velocity is displayed on the lower left hand corner of the main page. Adjust the speed on the tunnel by adjusting the Desired Voltage as shown in Figure 5. Once the wind tunnel velocity is set at the desired level proceed to step 3. |  |
|  | Figure B.6 |

| Step 3: Measurement of pressure distribution |
| --- |
| a. Open program VWT_Scanivalve_Data_Acquisition.vi. Select the Ref Cond tab from the main menu. Enter the values of manometer fluid density and the ambient absolute pressure in the two boxes as shown in Figure 8. |  |
|  | Figure B.7 |
| b. After entering the density and pressure values, select Port List tab from the main menu. Enter the pressure tap numbers in the order they are required to be scanned as shown in Figure 9. Click on the Run button to start scanning the pressure taps. |  |
|  | Figure B.8 |
| c. Open program VWT_Wing_Pressure_Visualization.vi along with the previous program to see the actual pressure distribution on the airfoil. Click Run and the actual pressure distribution on the airfoil on both surfacescan be observed as shown in Figure 10. Once all the pressure taps have been sampled the programs will automatically stop. This completes the data acquisition procedure. |  |
|  | Figure B.9 |
| Step 4: Lift force measurement |
| d. Open program ATMI_Load_Cell_Test.vi and click Run. The instantaneous lift force will be displayed on the Lift graph. The display shows the force in terms of volts, which can be converted to Newtons using the calibration curve. Once the force is noted click on the STOP button. |  |
|  | Figure B.10 |