57:020 Mechanics of Fluids and Transfer Processes

# Laboratory Experiment #2

# Measurement of Velocity Profile and Friction Factor in Pipe Flows

M. Muste, F. Stern, M. Wilson, and S. Ghosh

## 1. Purpose

To measure velocity profiles and friction factors in smooth and rough pipe flows, determine the measurement uncertainties, and to compare the measurements with benchmark data.

2. Experiment Design

In a fully developed, axisymmetric pipe flow (see Figure 1), the axial velocity (the only velocity component) at some distance r from the pipe centerline, u = u (r) is the same whatever the direction in which r is considered.  However, the shape of the velocity profile is different for laminar or turbulent.

| Laminar and turbulent flow regimes are distinguished by the flow Reynolds number defined as (1) where V is the pipe average velocity, D is the pipe diameter, Q is the pipe flow rate, and ν is the kinematic viscosity of the fluid. For fully developed laminar flow (Re < 2000), analytical solution for the differential equations of the fluid flow (Navier-Stokes and continuity) can be obtained. For turbulent pipe flows (Re > 2000), there is no exact solution of the Navier-Stokes equations. Semi-empirical laws for velocity distribution are used instead for turbulent flows. |  |
| --- | --- |
|  | Figure 1. Velocity distributions for fully developed flow in a pipe flow: a) laminar flow; b) turbulent flow |

Velocity distribution in pipe flows is directly linked to the distribution of the shear stress within the pipe cross section (http://css.engineering.uiowa.edu/fluidslab/referenc/concepts.html - select Pressure-Driven Pipe Flows).  The pipe-head loss due friction is obtained from the Darcy-Weisbach equation:

(2)	where f is the (Darcy) friction factor, L is the length of the pipe over which the loss occurs, hf is the head loss due to viscous effects, and g is the gravitational acceleration.  Moody chart provides the friction factor for pipe flows with smooth and rough walls in laminar and turbulent regimes.  The friction factor depends on Re and relative roughness k/D of the pipe (for large enough Re, the friction factor is solely dependent on the relative roughness).

The experiments are conducted in an instructional airflow pipe facility sketched in Figure 2.  The air is blown into a large reservoir located at the upstream end of the system. Pressure built up in the reservoir forces air to flow through any of the three straight experimental pipes.  Pressure taps are located along each of the pipes to allow pressure head measurements.  The pipe characteristics for each of the pipes included in the facility are provided in Appendix A.  At the downstream end of the system, the air is directed downward and back through any of three pipes of varying diameters fitted with Venturi meters.  Six gate valves are used for directing the flow.  The top three valves control flow through the experimental pipes, while the bottom three valves control which venturi meter is used.

Velocity distributions in the pipes are measured with Pitot tubes housed in glass-walled boxes, as sketched in Figure 3.  The data reduction equation (DRE) for the measurement of the velocity profiles is obtained by applying Bernoulli’s equation for the Pitot tube

(3)

where u(r) is the velocity at the radial position r, g is the gravitational acceleration,  is the stagnation pressure head sensed by the Pitot probe located at radial position r, is the reading for the static pressure head in the pipe, equal to that of the ambient pressure in the glass-walled box.   The readings of the pressure heads in Equation (3) are in height of a liquid column (ft of water), hence the density of water, ρw, and air, ρa are also involved in the equation to account for pressure conversion.

Figure 2.  Airflow pipe system

A number of equally spaced pressure taps are located along each of the pipes to allow for head measurements and subsequent calculation of pipe friction factor.  The location of the pressure taps is provided in Appendix A.  DRE for the friction factor is one of the Darcy Weisbach equation forms (Roberson & Crowe, 1997)

(4)

where D is the pipe diameter, L is the length of pipe between the taps i and j,   is the difference in pressure (height of water column) between the taps i and j, and Q is the pipe flow rate.  The flow rate (discharge) can be directly measured using the calibration equations for the Venturi meters (Rouse, 1978)

(5)

where Cd is the discharge coefficient,  is the contraction area,    is the head drop across the Venturi measured in height of liquid column (ft of water) by the differential manometer or ADAS.  Appendix A lists Venturi meter characteristics and provides details on the derivation of Equation (5).  Alternatively, the flow rate can be determined by integrating the measured velocity distribution over the pipe cross-section

(6)

Pressure measurements can be conducted in two ways: a) manually, using simple and differential manometers; b) automatically, using pressure transducers incorporated in the two Automated Data Acquisition Systems (ADAS).  Pressures from various points of the facilities are transmitted to measurement devices (manometer or pressure transducer) through tygon tubing.  Pitot tube pressures in Equation (3) and those from taps distributed along the pipes in Equation (4) are sequentially directed to the measurement device by the valve manifold sketched in Figure 4.  The manifold controls which of the multiple incoming tube pressures are send to the pressure measurement device (including ADAS).  The pressure head difference in Equation (5) is directly transmitted to the differential manometer or pressure transducer by a pair of tubes.

| Figure 3. Pitot-tube assembly | Figure 4. Valve manifold |
| --- | --- |

3.  Experiment Process

3.1. Setup

The experiment measurement system for the manual and automatic configurations include

| Configuration of the Manual Data Acquisition System | Configuration of Automatic Data Acquisition System |
| --- | --- |
| Facility (see Figure 2) | Facility (see Figure 2) |
| Pitot-tube assembly (see Figure 3) | Pitot-tube assembly (see Figure 3) |
| Venturi meter (see Figure 2) | Venturi meter (see Figure 2) |
| Valve manifold (see Figure 4) | Valve manifold (see Figure 4) |
| ADAS manifold (see Appendix B) | ADAS manifold (see Appendix B) |
| Thermometers (room and inside the setup) | Thermometers (room and inside the setup) |
| Micrometer for Pitot positioning (see Figure 3) | Micrometer for Pitot positioning (see Figure 3) |
| Simple manometer (see Appendix B) | ADAS (see Appendix B) |
| Differential manometer (see Appendix B) | ADAS (see Appendix B) |

- Set the blower motor controller to attain the desired Re in the test sections (Re up to 105 can be obtained for both upper and lower pipes open with a setting of 35% on the blower motor controller and control valves fully open).

- Close all finger valves.  When taking measurements with the simple manometer, make sure that only one finger valve on the valve manifold (leading to the desired measurement point) and the finger leading to the measurement device (simple manomenter or pressure transducer) are open. During measurements, valves R, S, and T on the valve manifold should be closed.

- Set the Pitot tube on the pipe centerline and zero the micrometer display.

- Take several measurement samples from various locations (Pitot, Venturi, pipe pressure taps) to make sure that the valve positioning is fully understood.  Trace the pressure path through the tygon tubing for each measurement.

- Get familiar with the operation of the manometers and ADAS by taking parallel readings with both systems and verifying their consistency.

3.2.  Data Acquisition

Each group of students will obtain velocity distributions and determine the friction factor for one of the 2" (rough or smooth) pipes at a given Re.  The readings with the manual data acquisition system are conducted only for demonstration purposes (as described above).  Data acquired with ADAS are recorded electronically and used subsequently for data reduction.  A spreadsheet will be provided to guide the data acquisition.

The experimental procedure follows the sequence described below:

- With the air flowing through one of the 2" pipes, set the control valves to obtain a Venturi manometer head drop corresponding to a pre-establish Re in the pipe flow (use Equations 1, and 5 or 6).  Select the appropriate Venturi meter, i.e., for larger discharge select a larger Venturi meter cross-section.  Actual discharges in the pipe are calculated with Equation (5) after precisely measuring the head drop across one of the three Venturi meters.  If two pipes are run in parallel, the discharges in the pipes are calculated using Equation (6) applied to individual pipes.

- Take temperature readings with the digital thermometer (resolution 0.1 ˚F) for ambient air and inside the pipe for getting the water and air densities, respectively.  Input the temperature readings as requested by the ADAS software interface. As temperature increases during the experiment, take three temperature readings at the beginning, in the middle, and at the end of the measurements.

- Velocity distribution is obtained with ADAS by measuring stagnation heads across the full pipe diameter paired by readings of the static heads using the appropriate Pitot-tube assembly.  Measure stagnation heads at radial intervals no greater than 5 mm (recommended spacing for half diameter of the upper and lower 2” pipes is 0, 5, 10, 15, 20, 23, and 24 mm).  Positioning of the Pitot tube within the pipe is made with a micrometer (resolution of 0.01 mm).  To establish precision limits for velocity profiles, measurements near the pipe wall should be taken at least 10 times.  The repeated measurements should be made using an alternative measurement pattern to avoid successive readings at the same location.  The same procedure is used for the upper (smooth) and lower (rough) pipes.

- Maintaining the discharge established above, measure with ADAS the pressure heads at pressure taps 1,2,3, and 4 indicated in Figure 2 by appropriately setting the manifold valves.  To establish precision limits for the friction factor, measurements for one of the taps (preferably 1) should be repeated 10 times.  The repeated measurements should be made using the alternative measurement pattern explained above.  It is important to note that pressure fluctuations are produced by opening or closing manifold valves, hence it is necessary to wait few seconds between consecutive measurements for the pressure to settle. The same procedures are used for the rough or smooth pipe.

3.3 Data Reduction

A spreadsheet will be provided to guide the data reduction.  Data reduction includes the following steps:

- Using the average temperatures, and  determine (w, (a , and (a using fluid property tables. Calculate Q using Equations (5) or (6) and Re using Equation (1).  A numerical method for calculation of discharges using Equation (6) is provided in Appendix A.

- Calculate velocity distribution profiles for the tested pipe using Equation (3). Plot the measured velocity profile including the uncertainty for the velocity measurements on the centerline and near the wall.  Compare the measured velocity distribution with the provided benchmark data.

- Calculate the friction factor for the tested pipe using Equation (4).   Use readings at taps 3 and 4, where the flow is fully developed.  Compare f with benchmark data, including uncertainty band for the measured f .

# 3.4 Uncertainty Assessment

Uncertainties for the experimentally measured velocities and friction factor will be evaluated. The methodology for estimating uncertainties follows the AIAA S-071 Standard (AIAA, 1995) as summarized in Stern et al. (1999) for multiple tests (M = 10).  The block diagrams for error propagations in the measurements are provided in Figure 5.

| a) | b) |
| --- | --- |
| Figure 5. Block diagrams for uncertainty estimation: a) velocity; b) friction factor |

Elemental errors for each of the measured independent variable in data reduction equations should be identified using the best available information (for bias errors) and repeated measurements (for precision errors).  We will consider in the analysis only the largest bias limits and neglect correlated bias errors.  A spreadsheet will be provided to facilitate uncertainty analysis.  The spreadsheet includes bias limit estimates for the individual measured variables.

The DRE for the velocity profile, Equation (3), is of the form: .  We will only consider bias limits for zSM stag and zSM stat.  The total uncertainty for velocity measurements is

(7)

The bias limit, Bu, and the precision limit, Pu, for velocities are given by

(8)

(9)

where the coefficients ( are calculated using mean values for the independent variables

and Su is the standard deviation of the repeated velocity measurements.  K = 2 for (M =) 10 repeated measurements.

The DRE for the friction factor, Equation (4), is of the form: .  We will only consider bias limits for zSM i and zSM j.  The total uncertainty for the friction factor is:

(10)

The bias limit, Bf, and the precision limit, Pf, for the result are given by

(11)

(12)

where, the coefficients ( are calculated using mean values for the independent variables:

and Sf is the standard deviation of the repeated friction factor measurements.  K = 2 for (M =) 10 repeated measurements.

4. Data Analysis

Measurements obtained in the experiments will be compared with benchmark data.  The benchmark data for velocity distribution corresponding to the highest Re obtainable in our laboratory setup is provided I numerical and graphical form in Figure 6.  The benchmark data for friction factor are provided by the Moody diagram (Figure 7) and by the Colebrook-White-based formula (Roberson and Crowe, 1997)

(11)

Discussions

- Plot the head (in ft of air) at each pressure tap as a function of distance along the pipe.  Comment on the pressure head drop distribution along the pipe.

- Discuss trends observed in the results and comment on uncertainties and the importance of the unaccounted error sources.

- Why was a sloping tube instead of an upright one preferred for the simple manometer (see Appendix B)?

| r/R u/Umax 0.0000 1.0000 0.1000 0.9950 0.2000 0.9850 0.3000 0.9750 0.4000 0.9600 0.5000 0.9350 0.6000 0.9000 0.7000 0.8650 0.8000 0.8150 0.9000 0.7400 0.9625 0.6500 0.9820 0.5850 1.0000 0.4300 |  |
| --- | --- |

Figure 6.  Benchmark data for the velocity profile

Figure 7.  Benchmark data (Moody chart) for pipe friction factor (smooth and rough walls)

5. References

Roberson, J.A. and Crowe, C.T. (1997). Engineering Fluid Mechanics, 7th edition, Houghton    Mifflin, Boston, MA.

Schlichting, H. (1968). Boundary-Layer Theory, McGraw-Hill, New York, NY.

Rouse, H. (1978).  Elementary Mechanics of Fluids, Dover Publications, Inc., New Yoirk, NY.

Stern, F., Muste, M., Beninati, L-M, Eichinger, B. (1999). “Summary of Experimental Uncertainty Assessment Methodology with Example,” IIHR Report No. 406, Iowa Institute of Hydraulic Research, The University of Iowa, Iowa City, IA.

APPENDIX A

SPECIFICATIONS FOR THE EXPERIMENTAL FACILITY COMPONENTS

| Table 1. Pipe characteristics Table 1. Pipe characteristics |
| --- |
| Experimental Pipe | Top | Middle | Bottom |
| Diameter (mm) | 52.38 | 25.4 | 52.93 |
| Internal Surface | Smooth, k = 0.025 mm | Smooth | Rough, k =0.04 mm |
| Number of Pressure Taps | 4 | 8 | 4 |
| Tap Spacing (ft) | 5 | 2.5 | 5 |

| Table 2. Venturi meter characteristics |
| --- |
| Venturi specifications | Small | Medium | Large |
| Contraction Diameter, Dt (mm) | 12.7 | 25.4 | 51.054 |
| Discharge Coefficient, Cd | 0.915 | 0.937 | 0.935 |

Alternative Discharge Calculation Methods

## 1.  Using the Venturi meter

Venturi meter calibrations are usually established with water as working fluid.  The calibration equation is:

where  Cd – flow coefficient (obtained through calibrations)

Q – flow discharge

At – cross-sectional area of the Venturi contraction (throat)

(h – head drop across the Venturi meter

g- gravitational acceleration

Conversion of Venturi meter readings to flow rates for air is made using the following equation

where ΔzDM is the reading on the differential manometer (in column of water).

2.  Integration of the velocity profile.

Using the measured velocity distribution u(r), the discharge can be obtained through integration using the trapezoidal rule:

in which  is the measurement on the centerline and I is the measurement near the wall (I is the total number of measurement points for half the pipe diameter).  Note that equal spacing between measurements simplifies somewhat the equation.

# APPENDIX B

Manometers and Automated Data Acquisition System (ADAS)

| The experiment can be conducted in two ways. One way is manually, which involves taking pressure measurements from the Pitot-tube housing, pressure taps, and Venturi meter with the simple manometer coupled to the valve manifold and the (see Figures B.1.a and B.1.b). The automated data acquisition system, measure the same pressures using the valve manifold (which is the primary multiplexer), the ADAS manifold, the pressure transducer, and the PC-based acquisition system (see Figure B.1.a and B.1.b). There are two automated data acquisition systems, ADAS 1 and 2, coupled to the facilities to allow for simultaneous measurements of the rough and smooth pipes. |
| --- |
| a) b) |  |
|  | Figure B.1. Layout of the data acquisition systems: a) photo; b) schematic |

| 1. Manometers |
| --- |
| Simple manometer (FigureB.2.a) The simple manometer is used to measure pressures incoming from the taps located along the pipes and those sensed in the Pitot-tube housing. The lower end of the manometer is connected to the valve manifold; the other end is open to atmosphere. When pressure is directed to the manometer and the finger valve located above the cylinder is open, a deflection of the water column occurs. Readings of pressure head in ft of water column are made on the inclined part of the tube. Differential manometer (Fig B.2.b) The differential manometer is used to measure pressure differences on the Venturi meters located on either of the three return pipes. Valve pairs 1, 2, and 3 allow measurements across the 0.5", 1.0", and 2.0" Venturi meters, respectively. Finger valves A and D should be open at all times. Valve pairs B and C are used to bleed the manometer. They should be closed during measurements. Measurement sequence. Start with valve pairs 1, 2 and 3 closed. Briefly open pair B to balance the water columns and then close. Set the lines on the sliding meniscus of each water column, and note the zeroed scale reading. Open finger valve pair 1,2 or 3 and read the corresponding head drop by sliding the markers to the meniscus of each column. The manometer provides pressure readings in ft of water column. If a new measurement is needed, close the previous finger valve pair and open the new corresponding pair. | Figure B.2. a) Simple manometer; b) Differential manometer; c) Vernier |
| Both the simple and differential manometer use a vernier scale to allow for measurements of 0.001 ft (Fig. B.2.c) When finger valves are appropriately set, use the adjusting knobs until the meniscus of the water in the column is even with the reference line on the vernier marker. The increments on the primary scale are 0.01 feet. The vernier scale has ten equal increments and a total length of 0.009 feet. Therefore, the two scales do not line up exactly. The ratio of the last coincident number on the vernier to the total vernier length will equal the fraction of a whole primary scale division indicated by the index position. For the example shown above, the vernier reading would be 2.323 feet. |

- Automated Data Acquisition System (ADAS)

ADAS Configuration

ADAS role in the present experiment is to acquire pressure measurements. The ADAS hardware mainly comprises a pressure transducer, a personal computer (PC) fitted with an analog-to-digital converter, as illustrated in Figure B.3.  The PC is installed on a mobile rack mount, as shown in Figure B.1.a.  The ADAS manifold connects the valve manifold (which is receiving connections from all the pressure taps and Pitot-tube housing) and the Venturi meter with the pressure transducer.  LabView (LabView, National Instruments, Inc) is used as data acquisition software.  The data is obtained by running a custom-designed LabView program that acts as an interface between the PC and the pressure transducer. The LabView program facilitates sequential data collection and uniformizes the data acquisition process.

The current experimental setup has two data acquisition systems.  ADAS 1 is connected to the smooth (top) pipe and ADAS 2 is connected to rough (bottom) pipe.  Each data acquisition system has its own manifold, which is connected to the valve manifold and Venturi meter (see Figure B.1.b).  The hardware and software associated with the two automated system is identical, hence the same operational procedures will be used for both systems.

##### Figure B.3.  Schematic of ADAS

ADAS Configuration

Described next is the ADAS LabView software.  Bold fonts are used below for words used by ADAS software commands or window labels.  The front page of the program consists of different menus:

- DPD menu measures the discharges

- DPF measures the pressure drop along the pipe length

- DPV measures the pipe velocity profiles

- A/D interface allows specifying the operation parameters.

| Initial Setup |
| --- |
| 1. Getting Started with ADAS Double click on the shortcut found on the ADAS computer: Pipe_flowv7,vi. A window as shown in Figure B.4 will open. Hit Run to run the program. | Figure B.4. Hit Run to run the program |
| 2. Under Specifications (see Figure B.5), TAs/students can add comments regarding the experiment if needed. (characteristics of pipe selected for the measurements, targeted Re, etc.). | Figure B.5. Experiment Specifications area |
| Before proceeding with the measurements enter hardware settings, by selecting the A/D interface (see Fig. B.6). Enter the channel number that is being sampled, the number of samples and the sampling frequency. The effect of sampling frequency and number, on the data acquisition, can be observed from the display on the DPD Menu. | Figure B.6. The A/D interface |
| Type in the reading of the air temperature (oC) in the facility (red on the same thermometer as the one used for the ambient temperature measurement) in the Temperature window, as shown in Figure B.7. | Figure B.7. Set pipe air temperature |
| Discharge Measurements |
| Select the DPD menu to measure the flow discharge in the pipe. To select it, click on the DPD tab as shown in Figure B.8. Open Valves 5 and 7 to connect the ADAS to the differential manometer. Make sure that the proper pair of valves on the differential manometer are open. Note: Close the valves on the ADAS manifold and differential manometer when measurements are finished. | Figure B.8. Click on the DPD tap to measure Differential Pressure for Discharge estimation |
| Click Acquire Pressure button in the Measurement window on the right side of the interface to obtain a reading of the head drop on the Venturi meter (Figure B.9). Note: Discharge measurements are taken at the beginning and at the end of the experiment. The average of the two discharges is considered for the lab report to account for the variation of the temperature during the experiment. | Figure B.9. Click on Acquire Pressure |
| 7. Write measurements to a file. Click on Write Results (see Figure B.10). | Figure B.10. Click on Write Results |
| 8. The screen indicated in Figure B.11 will appear. Save the result file in the directory indicated by the TAs using a .txt extension for the file name. The data is outputted in Excel compatible file format. Units for the measured variables are specified in the output file. | Figure B.11. Write results to a file |
| Velocity Distribution Measurements |
| Velocity data will be measured in the appropriate pitot-tube house following the handout instructions. Select the DPV tab, see Figure B.12. Open Valve 1 and Valve 6 on the ADAS panel so that the pressure transducer is connected to atmosphere and the simple manometer manifold, respectively. Note: Close the valves on the ADAS and simple manometer manifolds when measurements are finished. | Figure B.12. Click on DPV tap to measure Differential Pressure for Velocity |
| Move the Pitot tube in the housing at the desired location for the velocity measurement (e.g. 12 mm from the centerline). Click Acquire Pressure (Figure B.13). The screen shown in Figure B.13 will then prompt the user for the pitot-tube location. Enter Pitot-tube position in the dialog box. Click OK to start the measurement. Make sure that the valve manifold of the setup is connected to the Pitot stagnation tube (See Figure 3). | Figure B.13. Enter position of pitot-tube |
| Following step 10, the screen shown in Figure B.14 will appear. Close the valve connected to the Pitot stagnation rube and open the valve connected to the static on the valve manifold. Click OK on the screen shown in Figure B.14. Note: To establish precision limits for the simple manometer measurements, measurements should be taken at least 10 times. The repeated measurements should be made using an alternative pattern to avoid successive measurements at the same location. Velocities are displayed graphically in a window after each measurement is taken. | Figure B.14. Click OK when ready for static pressure measurement |
| Record final ambient and pipe air temperatures as indicated in step 4. |  |
| 13. Write measurements to a file. Click on Write Results (see Figure B.15). The data is outputted in Excel compatible file format. Units for the measured variables are specified in the output file. | Figure B.15. Click on Write Results |
| Friction Factor Measurements |
| Select DPF tab in the main menu (Figure B.16). Open Valves 1 and 6 on the ADAS panel so that the pressure transducer is connected to atmosphere and the valve manifold, respectively. Choose the desired pressure tap that is to be measured and open the corresponding valve on the valve manifold (see Figure 3). Close the valves on the data acquisition panel and simple manometer manifolds when measurements are finished. | Figure B.16. Click on DPF tap to measure Differential Pressure for Friction Factor |
| Make the proper settings on the valve manifold to connect the desired pressure tap to ADAS. Then enter the pressure tap number in the window shown in Figure B.17. Click OK. Click on Acquire Pressure as shown at Step 6 to make the measurement. Close the finger valve on the manifold and open the valve leading to the next measurement location. Repeat this sequence for all the planned pressure measurements along the pipes. Note: The pressure drop along the pipe is shown on a plot and ideally a linear curve should be observed. | Figure B.17. Enter 1 for tap Zsm1, 2 for tap Zsm2, ...etc. |
| Write measurements to a file. Click on Write Results (see Figure B.18). The data is outputted in Excel compatible file format. Units for the measured variables are specified in the output file. | Figure B.18. Click on Write Results |