# 53:071

# Project #1

# Pelton Turbine

# Allen Bradley

# Problem Statement

The Englewood City Children’s Museum in Colorado has purchased a small Pelton turbine for its new display on renewable energy.  The museum will divert water from South Platte River to a nearby elevated storage pond; a pipe system connects the pond to the turbine in the museum display.  For educational purposes, the museum wishes to operate the turbine and sell the power on the open market.  You have been hired as a consultant to the museum.

# Project Objectives

Determine the energy (kWh) that can be generated from the laboratory-scale Pelton turbine, and the revenue it can generate ($/year) for the museum.

# Site Information

The pipe system to be used for the Pelton turbine is shown schematically below:

Based on a preliminary analysis of the pipe system, the effective head available for the turbine is ~120 feet.  Variations in the forebay water level will occur due to changes in pond storage; however, such variations are assumed to be minor.

# Operational Information

The Englewood City Children’s Museum is open 7 days a week and intends to operate the turbine from 9 am to 4 pm each day.

The museum has secured water rights to divert flows from the South Platte River at Englewood (USGS stream-gage 06711565).  The allotted diversion is related to the average monthly flow rate in the river.  The diversion allowed is:

| South Platte Avg. Monthly Flow Conditions | Allotted Diversion (Q) |
| --- | --- |
| Less than 100 cfs | 0.07 cfs |
| Between 100 and 400 cfs | 0.13 cfs |
| Greater than 400 cfs | 0.25 cfs |

Monthly statistics for USGS stream-gages are available through NWISweb on the USGS web site (http://water.usgs.gov).

# Turbine Equipment

The Pelton turbine has been delivered to the IIHR laboratory facilities for testing.  Your project team will run tests to determine the energy conversion efficiency of the Pelton turbine for the proposed operating conditions (Havailable, Q).

Details of the experimental methods to be used to test the turbine are available at:

http://css.engineering.uiowa.edu/~cfd/physexp/handouts.html

# Project Report

Your project team must submit a draft and final project report to the museum’s Board of Directors.  The report should be concise and focused on answering the project objectives.  Minimum required components are:

- The recommended turbine operating condition (e.g., rotational speed) for the three flow diversion rates

- The energy generation (kWh/yr) for the recommended operating condition

- The revenue generated through sales of the energy ($/yr)

- A one-page flyer about the turbine to be distributed to children at the demonstration.

The report should also contain technical information necessary to support your recommendations and conclusion; however, this information needs to be written at a level appropriate to the audience (i.e., the Board of Directors).